Centre for Mobile Communications Research

Chamber Measurement Report

| Client: |  |
| --- | --- |
| Antenna: | circular_patch |
| Comments: | hor |
| Standard Boresight Axis: | E-Theta Plane (Horizontal) |
| Engineer: | Ario |
| Date: | Thursday, May 09, 2013 |
| Start Time: | 6:18:52 PM |
| Measurement Time: | 55 minutes, 36 seconds. |
| Number of Frequencies: | 21 |
| Theta Start Angle: | -180° |
| Theta Step Angle: | 5° |
| Theta Stop Angle: | 180° |
| Phi Start Angle: | 0° |
| Phi Step Angle: | 45° |
| Phi Stop Angle: | 180° |

Summary Table

| Frequency (MHz): | 2350.00 | 2357.50 | 2365.00 | 2372.50 | 2380.00 | 2387.50 | 2395.00 | 2402.50 | 2410.00 | 2417.50 | 2425.00 | 2432.50 | 2440.00 | 2447.50 | 2455.00 | 2462.50 | 2470.00 | 2477.50 | 2485.00 | 2492.50 | 2500.00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VSWR: | 14.48 : 1 | 11.89 : 1 | 9.76 : 1 | 7.88 : 1 | 5.98 : 1 | 4.52 : 1 | 3.22 : 1 | 2.28 : 1 | 1.57 : 1 | 1.15 : 1 | 1.46 : 1 | 2.09 : 1 | 2.95 : 1 | 3.99 : 1 | 5.33 : 1 | 6.74 : 1 | 8.41 : 1 | 10.19 : 1 | 11.91 : 1 | 14.04 : 1 | 15.83 : 1 |
| S11: (dB) | -1.20 | -1.46 | -1.79 | -2.22 | -2.94 | -3.91 | -5.58 | -8.18 | -13.08 | -22.91 | -14.60 | -9.07 | -6.13 | -4.45 | -3.30 | -2.60 | -2.08 | -1.71 | -1.46 | -1.24 | -1.10 |
| Real Zin (Ohms): | 10.40 | 11.36 | 12.45 | 13.71 | 15.97 | 18.36 | 22.25 | 27.01 | 34.02 | 43.99 | 59.92 | 85.00 | 127.56 | 191.69 | 264.00 | 268.57 | 208.28 | 137.35 | 93.61 | 62.50 | 46.72 |
| Imag Zin (Ohms): | -70.39 | -64.57 | -59.05 | -52.90 | -46.36 | -38.94 | -30.54 | -21.01 | -9.86 | 3.02 | 18.21 | 34.36 | 46.94 | 37.58 | -24.97 | -133.75 | -207.16 | -221.94 | -211.84 | -194.18 | -180.11 |
| Boresight (Zenith) E-Theta Gain (dB): | -32.66 | -31.36 | -29.90 | -28.71 | -28.00 | -27.20 | -26.21 | -24.98 | -24.42 | -25.78 | -28.97 | -33.62 | -37.66 | -37.83 | -36.44 | -34.87 | -34.06 | -34.06 | -33.98 | -34.66 | -34.94 |
| Boresight (Zenith) E-Phi Gain (dB): | -32.74 | -31.37 | -29.93 | -28.62 | -27.97 | -27.26 | -26.19 | -24.97 | -24.44 | -25.75 | -28.98 | -33.77 | -37.45 | -38.15 | -36.37 | -34.61 | -34.17 | -34.07 | -33.94 | -34.58 | -34.99 |
| Boresight (Zenith) Gain (dB): | -29.69 | -28.35 | -26.91 | -25.65 | -24.98 | -24.22 | -23.19 | -21.96 | -21.42 | -22.76 | -25.96 | -30.68 | -34.54 | -34.98 | -33.40 | -31.73 | -31.10 | -31.06 | -30.95 | -31.61 | -31.96 |
| Peak Gain Theta Angle (Deg): | 30.0 | 30.0 | 30.0 | -15.0 | -15.0 | -15.0 | -15.0 | -15.0 | -15.0 | 0.0 | 0.0 | 0.0 | -15.0 | -15.0 | -15.0 | -15.0 | -15.0 | -15.0 | -15.0 | -15.0 | -15.0 |
| Peak Gain Phi Angle (Deg): | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 | 90.0 |
| Peak E-Theta Gain (dB): | 0.46 | 1.14 | 1.79 | 2.45 | 3.36 | 4.23 | 4.97 | 5.44 | 5.68 | 5.54 | 5.27 | 4.62 | 3.91 | 3.25 | 2.54 | 1.84 | 1.12 | 0.56 | -0.09 | -0.47 | -1.12 |
| Peak E-Phi Gain (dB): | 0.34 | 1.05 | 1.70 | 2.45 | 3.37 | 4.24 | 4.98 | 5.45 | 5.69 | 5.56 | 5.29 | 4.65 | 3.92 | 3.25 | 2.54 | 1.85 | 1.12 | 0.56 | -0.09 | -0.47 | -1.11 |
| Peak Gain (dB): | 3.41 | 4.11 | 4.75 | 5.46 | 6.37 | 7.24 | 7.98 | 8.46 | 8.70 | 8.56 | 8.29 | 7.64 | 6.93 | 6.26 | 5.55 | 4.85 | 4.13 | 3.57 | 2.92 | 2.54 | 1.89 |
| E-Theta Directivity (dBi): | 8.09 | 8.08 | 8.02 | 7.94 | 8.06 | 8.16 | 8.18 | 8.13 | 8.05 | 7.95 | 7.93 | 7.82 | 7.75 | 7.73 | 7.73 | 7.74 | 7.75 | 7.78 | 7.78 | 7.78 | 7.71 |
| E-Phi Directivity (dBi): | 7.97 | 7.98 | 7.93 | 7.94 | 8.07 | 8.16 | 8.19 | 8.14 | 8.05 | 7.97 | 7.95 | 7.84 | 7.75 | 7.73 | 7.74 | 7.75 | 7.76 | 7.78 | 7.78 | 7.78 | 7.71 |
| Directivity (dBi): | 11.04 | 11.04 | 10.99 | 10.95 | 11.08 | 11.17 | 11.20 | 11.15 | 11.06 | 10.97 | 10.95 | 10.84 | 10.76 | 10.74 | 10.74 | 10.76 | 10.77 | 10.79 | 10.79 | 10.79 | 10.72 |
| Radiated Efficiency (%): | 17.26 | 20.25 | 23.82 | 28.25 | 33.86 | 40.49 | 47.75 | 53.83 | 58.05 | 57.44 | 54.24 | 47.90 | 41.37 | 35.64 | 30.25 | 25.69 | 21.70 | 18.97 | 16.33 | 14.94 | 13.10 |
| Antenna Efficiency (%): | 4.17 | 5.80 | 8.03 | 11.29 | 16.63 | 24.02 | 34.54 | 45.64 | 55.19 | 57.14 | 52.36 | 41.96 | 31.29 | 22.84 | 16.10 | 11.56 | 8.25 | 6.18 | 4.67 | 3.71 | 2.93 |
| Average E-Theta Gain (dB): | -3.21 | -4.08 | -4.91 | -5.81 | -6.97 | -7.99 | -9.11 | -10.02 | -10.64 | -10.98 | -10.78 | -10.25 | -9.40 | -8.41 | -7.40 | -6.58 | -5.86 | -5.16 | -4.82 | -4.17 | -4.01 |
| Average E-Phi Gain (dB): | -3.16 | -4.04 | -4.87 | -5.78 | -6.94 | -7.97 | -9.10 | -10.01 | -10.65 | -10.99 | -10.78 | -10.26 | -9.41 | -8.42 | -7.41 | -6.58 | -5.86 | -5.17 | -4.82 | -4.19 | -4.02 |
| Average Gain (dB): | -0.17 | -1.05 | -1.88 | -2.78 | -3.95 | -4.97 | -6.09 | -7.00 | -7.63 | -7.97 | -7.77 | -7.24 | -6.39 | -5.41 | -4.39 | -3.57 | -2.85 | -2.16 | -1.81 | -1.17 | -1.01 |

3D Scatter Plots

Frequency: 2350 MHz

Frequency: 2357.5 MHz

3D Scatter Plots

Frequency: 2365 MHz

Frequency: 2372.5 MHz

3D Scatter Plots

Frequency: 2380 MHz

Frequency: 2387.5 MHz

3D Scatter Plots

Frequency: 2395 MHz

Frequency: 2402.5 MHz

3D Scatter Plots

Frequency: 2410 MHz

Frequency: 2417.5 MHz

3D Scatter Plots

Frequency: 2425 MHz

Frequency: 2432.5 MHz

3D Scatter Plots

Frequency: 2440 MHz

Frequency: 2447.5 MHz

3D Scatter Plots

Frequency: 2455 MHz

Frequency: 2462.5 MHz

3D Scatter Plots

Frequency: 2470 MHz

Frequency: 2477.5 MHz

3D Scatter Plots

Frequency: 2485 MHz

Frequency: 2492.5 MHz

3D Scatter Plots

Frequency: 2500 MHz

Polar Plots

Frequency: 2350 MHz

Polar Plots

Frequency: 2357.5 MHz

Polar Plots

Frequency: 2365 MHz

Polar Plots

Frequency: 2372.5 MHz

Polar Plots

Frequency: 2380 MHz

Polar Plots

Frequency: 2387.5 MHz

Polar Plots

Frequency: 2395 MHz

Polar Plots

Frequency: 2402.5 MHz

Polar Plots

Frequency: 2410 MHz

Polar Plots

Frequency: 2417.5 MHz

Polar Plots

Frequency: 2425 MHz

Polar Plots

Frequency: 2432.5 MHz

Polar Plots

Frequency: 2440 MHz

Polar Plots

Frequency: 2447.5 MHz

Polar Plots

Frequency: 2455 MHz

Polar Plots

Frequency: 2462.5 MHz

Polar Plots

Frequency: 2470 MHz

Polar Plots

Frequency: 2477.5 MHz

Polar Plots

Frequency: 2485 MHz

Polar Plots

Frequency: 2492.5 MHz

Polar Plots

Frequency: 2500 MHz

E-Field Plots

Frequency: 2350 MHz

E-Field Plots

Frequency: 2357.5 MHz

E-Field Plots

Frequency: 2365 MHz

E-Field Plots

Frequency: 2372.5 MHz

E-Field Plots

Frequency: 2380 MHz

E-Field Plots

Frequency: 2387.5 MHz