## Normalised total heat demand
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C | 16.5°C to 19.5°C
0:30 | 0.0078037 | 0.0066093 | 0.0053458 | 0.0048166 | 0.0047283 | 0.0051716 | 0.0060379 | 0.0063081 | This sheet provides half-hourly normalised profiles of total heat demand at different outdoor temperatures, in 3-degree bands. (i.e. daily total is always 1). They are based on the cleaned, weighted EDRP dataset. These profiles are shown in Figure 6b in Watson et al (2018). In case of queries, contact s.watson@lboro.ac.uk
1:00 | 0.0073545 | 0.0062196 | 0.0049654 | 0.0044157 | 0.0042646 | 0.0046217 | 0.0054352 | 0.0057961
1:30 | 0.0070923 | 0.0059403 | 0.0047299 | 0.0040931 | 0.0039657 | 0.0042917 | 0.0052019 | 0.0055637
2:00 | 0.0072952 | 0.0058855 | 0.0046841 | 0.0040526 | 0.003891 | 0.0042194 | 0.0050594 | 0.0054546
2:30 | 0.0072838 | 0.005878 | 0.0046656 | 0.0040368 | 0.0038904 | 0.0041826 | 0.0049874 | 0.0054363
3:00 | 0.0072839 | 0.0059738 | 0.0048092 | 0.0041838 | 0.004038 | 0.0043511 | 0.0053028 | 0.0057039
3:30 | 0.0076892 | 0.0062764 | 0.005133 | 0.0045051 | 0.0044436 | 0.0046561 | 0.0055404 | 0.0058742
4:00 | 0.0081008 | 0.0067578 | 0.0057201 | 0.0051711 | 0.005145 | 0.0055426 | 0.0062776 | 0.006652
4:30 | 0.0091049 | 0.0079238 | 0.0070697 | 0.0065876 | 0.00662 | 0.0070906 | 0.007647 | 0.0081516
5:00 | 0.01076 | 0.010452 | 0.010234 | 0.0099475 | 0.010487 | 0.011122 | 0.011328 | 0.012039
5:30 | 0.013428 | 0.013996 | 0.014698 | 0.01519 | 0.016629 | 0.017719 | 0.017283 | 0.018186
6:00 | 0.01774 | 0.019879 | 0.022011 | 0.023571 | 0.026236 | 0.027882 | 0.027528 | 0.028124
6:30 | 0.022579 | 0.026206 | 0.029789 | 0.032916 | 0.036502 | 0.039195 | 0.03948 | 0.039502
7:00 | 0.02708 | 0.030517 | 0.03463 | 0.038258 | 0.041777 | 0.044226 | 0.044045 | 0.043873
7:30 | 0.028089 | 0.031165 | 0.034669 | 0.03774 | 0.040697 | 0.042346 | 0.042818 | 0.041999
8:00 | 0.028375 | 0.03015 | 0.032151 | 0.034128 | 0.035787 | 0.036763 | 0.037652 | 0.037219
8:30 | 0.028419 | 0.028667 | 0.028915 | 0.029438 | 0.029938 | 0.030272 | 0.031376 | 0.03161
9:00 | 0.026831 | 0.02649 | 0.025174 | 0.0245 | 0.023892 | 0.024377 | 0.025935 | 0.02644
9:30 | 0.02627 | 0.025151 | 0.022738 | 0.021059 | 0.020039 | 0.020445 | 0.022299 | 0.023201
10:00 | 0.02559 | 0.024019 | 0.020965 | 0.018557 | 0.017174 | 0.017394 | 0.019293 | 0.020181
10:30 | 0.024452 | 0.023095 | 0.019702 | 0.017016 | 0.015252 | 0.015425 | 0.01749 | 0.018655
11:00 | 0.02375 | 0.022512 | 0.019044 | 0.016163 | 0.014276 | 0.014452 | 0.016225 | 0.017462
11:30 | 0.023598 | 0.022216 | 0.018909 | 0.016029 | 0.014111 | 0.01426 | 0.016051 | 0.017447
12:00 | 0.02351 | 0.022338 | 0.019409 | 0.016802 | 0.014913 | 0.01487 | 0.016803 | 0.018366
12:30 | 0.023355 | 0.022346 | 0.019572 | 0.017226 | 0.014977 | 0.014626 | 0.016297 | 0.017801
13:00 | 0.023111 | 0.022311 | 0.019631 | 0.017366 | 0.014805 | 0.014288 | 0.015526 | 0.016867
13:30 | 0.023171 | 0.022463 | 0.019893 | 0.017528 | 0.014749 | 0.013989 | 0.014697 | 0.015691
14:00 | 0.023253 | 0.02272 | 0.020273 | 0.018052 | 0.015116 | 0.013989 | 0.014177 | 0.015017
14:30 | 0.023893 | 0.023454 | 0.02137 | 0.01922 | 0.016247 | 0.01446 | 0.014236 | 0.014992
15:00 | 0.02514 | 0.025164 | 0.023906 | 0.022122 | 0.019026 | 0.016436 | 0.015738 | 0.016295
15:30 | 0.026439 | 0.027086 | 0.026869 | 0.026005 | 0.023076 | 0.019976 | 0.018931 | 0.019666
16:00 | 0.028508 | 0.029961 | 0.031347 | 0.031791 | 0.030139 | 0.027143 | 0.026387 | 0.027345
16:30 | 0.030295 | 0.032249 | 0.03506 | 0.03682 | 0.036701 | 0.035098 | 0.035492 | 0.036964
17:00 | 0.031318 | 0.033621 | 0.037307 | 0.039827 | 0.040844 | 0.039771 | 0.040375 | 0.042173
17:30 | 0.031276 | 0.033429 | 0.037047 | 0.039443 | 0.040835 | 0.040303 | 0.039118 | 0.040162
18:00 | 0.030759 | 0.033003 | 0.036459 | 0.039013 | 0.04092 | 0.040542 | 0.039238 | 0.039588
18:30 | 0.030279 | 0.032247 | 0.035533 | 0.038163 | 0.039978 | 0.039848 | 0.037958 | 0.037016
19:00 | 0.029803 | 0.031321 | 0.03428 | 0.036842 | 0.03859 | 0.038267 | 0.035664 | 0.033701
19:30 | 0.028834 | 0.030265 | 0.032794 | 0.035057 | 0.036564 | 0.035957 | 0.032773 | 0.029624
20:00 | 0.027757 | 0.029024 | 0.031166 | 0.033187 | 0.03483 | 0.033931 | 0.030548 | 0.026892
20:30 | 0.026664 | 0.027537 | 0.029284 | 0.030903 | 0.032363 | 0.031567 | 0.028006 | 0.024277
21:00 | 0.025099 | 0.02542 | 0.026754 | 0.027837 | 0.029204 | 0.028863 | 0.025321 | 0.021739
21:30 | 0.023117 | 0.022673 | 0.023574 | 0.024143 | 0.025053 | 0.025068 | 0.022126 | 0.019081
22:00 | 0.019661 | 0.018721 | 0.019135 | 0.019229 | 0.01995 | 0.020616 | 0.018927 | 0.016577
22:30 | 0.016266 | 0.014433 | 0.014265 | 0.014104 | 0.014453 | 0.015319 | 0.014776 | 0.01342
23:00 | 0.013057 | 0.010805 | 0.010283 | 0.0099771 | 0.01007 | 0.010858 | 0.011126 | 0.010474
23:30 | 0.010412 | 0.0084005 | 0.0077554 | 0.0072845 | 0.0071687 | 0.0079368 | 0.008534 | 0.0083817
24:00 | 0.0090528 | 0.007031 | 0.0062826 | 0.0056817 | 0.0056453 | 0.0062726 | 0.0069326 | 0.0070104

## Normalised space heat
| -4.5°C to -1.5°C | -1.5°C to 1.5°C | 1.5°C to 4.5°C | 4.5°C to 7.5°C | 7.5°C to 10.5°C | 10.5°C to 13.5°C | 13.5°C to 16.5°C
0:30 | 0.0074335 | 0.0054782 | 0.0046798 | 0.0041237 | 0.0042025 | 0.0039323 | 0.0039323 | This spreadsheet contains half-hourly normalised profiles for space heating demand at various outdoor temperatures (in 3-degree bands). It is based on the cleaned, weighted EDRP dataset, with DHW and cooking demand subtracted. Once cooking has been subtracted, gas use above 18°C is assumed to be exclusively for DHW, and is scaled according to relationships taken from SAP 2012.
1:00 | 0.0070039 | 0.0051644 | 0.0043222 | 0.0037168 | 0.0036439 | 0.0034695 | 0.0034695
1:30 | 0.0066645 | 0.0049233 | 0.004011 | 0.0034075 | 0.0031612 | 0.00292 | 0.00292
2:00 | 0.0066488 | 0.004897 | 0.0039791 | 0.0033372 | 0.003118 | 0.0027835 | 0.0027835
2:30 | 0.0066571 | 0.0049279 | 0.0039199 | 0.0033807 | 0.0031061 | 0.0028065 | 0.0028065
3:00 | 0.0066658 | 0.0050607 | 0.0040437 | 0.0035035 | 0.0031857 | 0.0031154 | 0.0031154
3:30 | 0.0069693 | 0.0053638 | 0.0043381 | 0.0039642 | 0.0034792 | 0.0033458 | 0.0033458
4:00 | 0.0073079 | 0.0059287 | 0.0048725 | 0.0046603 | 0.0041983 | 0.0044561 | 0.0044561
4:30 | 0.0082525 | 0.0072083 | 0.0062046 | 0.0061517 | 0.0054891 | 0.0061423 | 0.0061423
5:00 | 0.010033 | 0.009978 | 0.0092308 | 0.0099511 | 0.0090393 | 0.0099358 | 0.0099358
5:30 | 0.012635 | 0.013795 | 0.013532 | 0.016037 | 0.015465 | 0.016203 | 0.016203
6:00 | 0.016905 | 0.019947 | 0.020505 | 0.025385 | 0.025049 | 0.026112 | 0.026112
6:30 | 0.021468 | 0.026565 | 0.028051 | 0.035365 | 0.035748 | 0.038017 | 0.038017
7:00 | 0.025513 | 0.031121 | 0.033148 | 0.040706 | 0.041401 | 0.043042 | 0.043042
7:30 | 0.02687 | 0.031869 | 0.033592 | 0.039953 | 0.040792 | 0.042408 | 0.042408
8:00 | 0.027301 | 0.030411 | 0.03131 | 0.035167 | 0.035687 | 0.035994 | 0.035994
8:30 | 0.027656 | 0.028368 | 0.02842 | 0.029401 | 0.029762 | 0.029836 | 0.029836
9:00 | 0.026587 | 0.025288 | 0.024437 | 0.022911 | 0.02317 | 0.021704 | 0.021704
9:30 | 0.026191 | 0.02353 | 0.02185 | 0.019012 | 0.018981 | 0.017879 | 0.017879
10:00 | 0.025721 | 0.022189 | 0.019993 | 0.016181 | 0.015807 | 0.014423 | 0.014423
10:30 | 0.025116 | 0.021134 | 0.018906 | 0.014276 | 0.013871 | 0.012683 | 0.012683
11:00 | 0.024626 | 0.020635 | 0.018292 | 0.013339 | 0.012867 | 0.011355 | 0.011355
11:30 | 0.024287 | 0.020361 | 0.018158 | 0.013039 | 0.01246 | 0.010693 | 0.010693
12:00 | 0.024041 | 0.020633 | 0.018809 | 0.013565 | 0.013142 | 0.010916 | 0.010916
12:30 | 0.024123 | 0.020851 | 0.019408 | 0.014159 | 0.013291 | 0.011032 | 0.011032
13:00 | 0.02434 | 0.021071 | 0.019831 | 0.014429 | 0.013461 | 0.011273 | 0.011273
13:30 | 0.024677 | 0.02164 | 0.020561 | 0.014732 | 0.013876 | 0.011986 | 0.011986
14:00 | 0.025216 | 0.022138 | 0.021371 | 0.015582 | 0.01455 | 0.012475 | 0.012475
14:30 | 0.026098 | 0.023241 | 0.022743 | 0.017072 | 0.015637 | 0.013258 | 0.013258
15:00 | 0.027655 | 0.025759 | 0.025959 | 0.020706 | 0.018618 | 0.016627 | 0.016627
15:30 | 0.028763 | 0.028083 | 0.029099 | 0.024833 | 0.022061 | 0.019558 | 0.019558
16:00 | 0.030225 | 0.031258 | 0.033331 | 0.031241 | 0.029089 | 0.026954 | 0.026954
16:30 | 0.030509 | 0.033427 | 0.036143 | 0.03609 | 0.035466 | 0.034273 | 0.034273
17:00 | 0.030729 | 0.034919 | 0.037786 | 0.039666 | 0.039399 | 0.038947 | 0.038947
17:30 | 0.030736 | 0.035092 | 0.037672 | 0.040026 | 0.040985 | 0.039712 | 0.039712
18:00 | 0.030251 | 0.034535 | 0.036979 | 0.040178 | 0.041567 | 0.041001 | 0.041001
18:30 | 0.030005 | 0.034175 | 0.036377 | 0.040353 | 0.041974 | 0.043068 | 0.043068
19:00 | 0.029743 | 0.033556 | 0.035584 | 0.040016 | 0.041497 | 0.043969 | 0.043969
19:30 | 0.029458 | 0.032813 | 0.034525 | 0.039112 | 0.040348 | 0.044264 | 0.044264
20:00 | 0.028657 | 0.031674 | 0.033045 | 0.037915 | 0.039284 | 0.043095 | 0.043095
20:30 | 0.027575 | 0.030117 | 0.031173 | 0.035667 | 0.037078 | 0.040342 | 0.040342
21:00 | 0.025883 | 0.027771 | 0.028398 | 0.032271 | 0.034058 | 0.037044 | 0.037044
21:30 | 0.023372 | 0.024538 | 0.024832 | 0.027634 | 0.029084 | 0.031783 | 0.031783
22:00 | 0.019387 | 0.019618 | 0.019651 | 0.021252 | 0.022685 | 0.024746 | 0.024746
22:30 | 0.015284 | 0.014491 | 0.014136 | 0.014829 | 0.015965 | 0.017018 | 0.017018
23:00 | 0.011691 | 0.010345 | 0.0098902 | 0.0098842 | 0.010644 | 0.010871 | 0.010871
23:30 | 0.00919 | 0.007774 | 0.0071801 | 0.0066899 | 0.0071173 | 0.0070865 | 0.0070865
24:00 | 0.0078831 | 0.0063376 | 0.0057201 | 0.005127 | 0.0054421 | 0.0054458 | 0.0054458

## Normalised DHW profile
All outdoor temperatures
0:30 | 0.060606 | This sheet gives the half-hourly normalised profile for Domestic Hot Water. It is based on the cleaned, weighted EDRP dataset, and assumes that once cooking has been removed, all gas use above 18°C is for DHW.
1:00 | 0.055616
1:30 | 0.054494
2:00 | 0.053614
2:30 | 0.053054
3:00 | 0.054972
3:30 | 0.058365
4:00 | 0.065475
4:30 | 0.080007
5:00 | 0.11827
5:30 | 0.17509
6:00 | 0.27085
6:30 | 0.3746
7:00 | 0.42063
7:30 | 0.39982
8:00 | 0.35289
8:30 | 0.29397
9:00 | 0.25255
9:30 | 0.21854
10:00 | 0.1928
10:30 | 0.17459
11:00 | 0.16463
11:30 | 0.16634
12:00 | 0.17565
12:30 | 0.16928
13:00 | 0.1593
13:30 | 0.14769
14:00 | 0.13998
14:30 | 0.14153
15:00 | 0.14944
15:30 | 0.18692
16:00 | 0.25656
16:30 | 0.34201
17:00 | 0.3884
17:30 | 0.3734
18:00 | 0.36995
18:30 | 0.34256
19:00 | 0.3096
19:30 | 0.27167
20:00 | 0.24324
20:30 | 0.21824
21:00 | 0.19301
21:30 | 0.17056
22:00 | 0.15326
22:30 | 0.12585
23:00 | 0.099511
23:30 | 0.080897
24:00 | 0.066233

## Daily regression equations
| Gradient | Y-intercept
Total heat demand |  |  | This sheet gives the regression equations relating effective outdoor temperature (T(eff)) to daily heat demand per dwelling (kWh), for a mean dwelling from the GB housing stock. These daily values are multiplied by the appropriate normalised profile to give half-hourly demand (kWh/half hour)
For T(eff)<14.2 | -5.463 | 90.55
For T(eff)>14.2 | -0.988 | 26.84
Space heat demand
For T(eff)<14.1 | -5.128 | 75.24
For T(eff)>14.1 | -0.715 | 12.97
Domestic Hot Water
All temperatures | -0.324 | 12.9